## Instructions
foodproof® Allergen Detection and Quantification (Order No. KIT230057, KIT230058, KIT230059, KIT230060, KIT230061) Calculation Template Version 1.2, March 2026
Instructions
General | Copy data from PCR software
Export the data from the PCR run to Excel® if the PCR instrument software offers this opportunity or copy the data directly to the Calculation Template sheet "Instrument Data" and sort the data as necessary. Convert all negative values to an " " (empty field) and for the German version of Excel, the number format from "point" to "comma" (e.g. 30.02 to 30,02).
Step 1 | Enter standard curve data
Perform a standard curve run at least once for every lot of the foodproof® Allergen Detection Kit. Please follow the instructions in the Quick Guide. Copy Cq values in the FAM channel of both replicates of the standard curve to the Calculation Template sheet "Quantification". Enter the data into the upper orange fields to calculate the standard curve. Note: Saved standard curve data are only valid for re-use for runs performed on the same instrument! For subsequent runs with the same lot of the PCR Kit, it is possible to transfer the standard curve data from other runs performed with this lot. Only the undiluted Quantification Standard (Calibrator) and a Negative Control in the new PCR run will be necessary in this case.
Step 2 | Enter control sample data
A positive and a negative control must be performed with each PCR run. The Negative Control (NC) serves as contamination control in the FAM channel. The Internal Amplification Control (IC) in the HEX channel should not be inhibited. A Positive Control DNA is provided with the Allergen Detection Kit. For Quantification, use the undiluted Standard (Calibrator) DNA of the RM 800. In a standard curve run, copy the data from one of the replicates. For runs that just use a Calibrator, copy the Cq values in the FAM and HEX channels to the Calculation Template sheet "Quantification". Enter the data into the lower orange fields. In a standard curve run, copy the data from the replicates to the Calculation Template sheet "Quantification". Enter the data to the lower orange fields. Note: If "passed" is displayed next to the sample, no issues are present with the control samples. If "invalid" is displayed, PCR data should not be analyzed further. Make sure that there is no sample mix up, and data generated by the Negative Control and Standard were entered correctly. If the warning "invalid" still persists, contamination occurred during the experiment (Negative Control) or a wrong sample type was chosen for the calibrator. In this case, a valid quantification cannot be conducted and the PCR run needs to be repeated.
foodproof® Allergen Detection and Quantification (Order No. R 302 60, R 302 61, R 302 62, R 302 63, R 302 64) Calculation Template Version 1.1, January 2020
Step 3 | Enter sample information
In the green fields of the Calculation Template sheet "Quantification", enter the sample ID or name for each sample, the PCR position (well) and specify the "weighed sample amount" and the amount of PCR template "DNA-extract used for PCR".
Step 4 | Enter sample data
For each sample, copy the Cq values in the FAM and HEX channels from your real-time PCR instrument software to the Calculation Template sheet "Quantification". Enter the data into the green fields. Note: Make sure there is no mix-up of channels, sample data and sample information in the transfer. Pay attention to the “Comment” field; e.g., when “invalid” is displayed, PCR data should not be analyzed further. If the IC result shows "invalid", sample inhibition occured.
Abbreviations
Cq | Quantification Cycles (synonyms: Ct (cycle threshold) or Cp (crossing point))

## Quantification
Calculation Template Version 1.2, March 2026 |  | foodproof® Allergen Detection and Quantification (Order No. KIT230057, KIT230058, KIT230059, KIT230060, KIT230061)
Experiment: |  |  |  | Date: | [5 empty] | PCR Kit Lot:
Standard Curve Calculation FAM Channel
Quantification Standard Concentration [ppm] | Log | Cq [FAM] array 1 | Cq [FAM] array 2 | Mean Cq [FAM] |  | Please enter CONTROLS data in orange fields!
800 | 2.9031 |  |  | invalid
80 | 1.9031 |  |  | invalid
8 | 0.90309 |  |  | invalid |  | Please enter SAMPLE data in green fields!
0.8 | -0.09691 |  |  | invalid
Slope (m) = | invalid | [5 empty] | invalid
Efficiency = | invalid | invalid |  |  |  |  | invalid | invalid
R2 = | invalid | invalid |  |  |  |  | invalid | invalid
Y intercept (b) = | invalid | [5 empty] | invalid
Y intercept (b) calibrator = | invalid | [5 empty] | invalid
Experiment: |  |  |  | Date: | [5 empty] | PCR Kit Lot:
Control | PCR position / well | Cq [FAM] | Cq IC [HEX]
Negative Control |  |  |  | invalid |  |  | invalid | passed
Undiluted Standard (800 ppm) |  |  |  | invalid |  |  | invalid | #VALUE!
Sample ID / Name | PCR position / well | Cq Allergen [FAM] | Cq IC [HEX] | Weighed sample amount [mg] | DNA extract used for PCR [µl] | Sample ID / name |  |  |  | Allergen result [ppm] |  |  | IC result |  | Comment
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid
|  |  |  | 200 | 5 | 0 | #VALUE! | <0,8 | <0,8 | <0,8 | invalid | invalid | invalid | invalid | invalid

## Formula (hidden)
|  | QM-Dokumentation der Formeln | Calculation Template Version 1.1, November 2020 | foodproof® Allergen Detection and Quantification (Order No. R 302 60, R 302 61, R 302 62, R 302 63, R 302 64)
Geprüft Kürzel | Feld | Zu berechnender Wert | Erläuterung | Beschreibung der Formel
| G 8 bis 11 | Verdünnungsreihe, Warnmeldung | Kontrolle ob Daten für die Verdünnugnssschritte der Standardkurve eingetragen wurden | WENN(ODER(ISTLEER(E8);ISTLEER(F8));"invalid";MITTELWERTA(E8:F8))
| J 13 | Slope (m) , Warnmeldung | Berechnung der Steigung der Standardgeraden, Kontrolle ob die notwendigen Daten verfügbar sind | WENN(ODER(G8="invalid";G9="invalid";G10="invalid";G11="invalid";);"invalid";STEIGUNG(G8:G11;D8:D11))
| J 14 | Steigung, Plausibilität | Grenzbereich bei dem die Steigung der Standardgeraden normal ist | WENN(J13="invalid";"invalid";(10^(-1/J13)-1))
| K 14 | Efficiency | Berechnung der Effizienz der Standardkurve | WENN(ODER(J14<0,8;J14>1,2);"invalid";"passed")
| J 15 | R2, Warnmeldung | Berechnung Bestimmtheitsmaß der Standardkurve, Kontrolle ob die notwendigen Daten verfügbar sind | WENN(ODER(G8="invalid";G9="invalid";G10="invalid";G11="invalid";);"invalid";RUNDEN(BESTIMMTHEITSMASS(G8:G11;D8:D11);3))
| K 15 | Bestimmtheitsmaß, Plausibilität | Grenzbereich bei dem das Bestimmtheismaß normal ist, Kontrolle ob die Daten für die Berechnung vorhanden sind | WENN(ODER(ISTLEER(E8);ISTLEER(E9);ISTLEER(E10);ISTLEER(E11);ISTLEER(F8);ISTLEER(F9);ISTLEER(F10);ISTLEER(F11);J15<0,99);"invalid";"passed")
| J 16 | Y Intercept (b) | Berechnung des Achsenabstandes der Standardkurve zur y - Achse | WENN(J13="invalid";"invalid";(G8-(J13*D8)))
| J 17 | Y Intercept (b) Calibrator | Umrechnung des Achsenabstandes zur y - Achse der Standardkurve im Bezug auf den Calibrator | WENN(J13="invalid";"invalid";(E24-(J13*D8)))
| J 23 | Warnmeldung | Kontrolle ob die Werte für Negative Control eingetragen wurden | WENN(ODER(K23="invalid";ISTLEER(#BEZUG!);ISTLEER(F23));"invalid";"passed")
| K 23 | Plausibilität | Werte für die die Negative Control normal ist | WENN(ODER(E23="No Cq";E23="-";E23="";E23=0);"passed";WENN(E23>0;"invalid";""))
| J 24 | Warnmeldung | Kontrolle ob die Werte für den Quantification Standard (unverdünnt) eingetragen wurden | WENN(ODER(ISTLEER(E24);G8="invalid");"invalid";K24)
| K 24 | Plausibilität | Werte für die der Quantification Standard (unverdünnt) normal ist | WENN(ODER(E24<G8-2;E24>G8+2);"invalid";"passed")
| J 27 bis 120 | cfu / g | Berechnung der cfu / g aus dem Cq Wert | 10^((E27-$J$17)/$J$13)*((200/G27)*(5/H27))
| L 27 bis 120 | cfu / g | Grenzwertangabe | WENN(K27<0,8;"<0,8";K27)
| K 27 bis 120 | Korrektur | Angabe des Cutt Offs bei negativen Proben | WENN(ODER(ISTLEER(E27);E27=0;E27="No Cq";E27="-");"<0,8";J27)
| N 27 bis 120 | IC result | Berechnung und Grenzwerte für die die IC (HEX) noch normal ist, Abweichungen in Cq Wert und Fluoreszenz Maximum werden berücksichtigt | WENN(ODER(F27>($F$23+2);F27<($F$23-2);F27="No Cq";F27="-";ISTLEER(F27));"invalid"; "passed")
| O 27 bis 120 | Korrektur | Berechnungen (ob Inhibition oder nicht) bezugnehmned auf den Wert Cq der IC (HEX) erst ab einem bestimmten Wert Cq in FAM Kanal | WENN(ODER(E27>50;ISTLEER(E27));N27;"passed")
| Q 27 bis 120 | Comment | Zusammenfassung der Warnmeldungen | WENN(ODER($K$14="invalid";$K$15="invalid";$J$23="invalid";$J$24="invalid";P27="invalid");"invalid";"passed")