## Aflatoxin B1
Data Analysis Worksheet for Aflatoxin B1 ELISA Kit (Cat No. 941BAFL01B1-96) (KIT5004)
Date:
Operator:
Kit Lot#:
Temperature:
How to use the Data Analysis Worksheet for Aflatoxin B1 ELISA Kit (Cat No. 941BAFL01B1-96) (KIT5004)
Step#1: Enter the OD values for the standards in the orange cells.
Step#2: The standard curve is automatically generated. Check that the R2 value is acceptable.
Step#3: Enter OD values for unknown samples in the grey cells. Then, enter the dilution factor.(enter 1 if samples were not diluted).
Step#1: Enter the OD values for the standards in the orange cells.
Standard Concentration (ng/mL) | OD1 | OD2 | Mean | %B/Bo | Log (Standard Concentration) | Logit %B/Bo
0 |  |  | #DIV/0! | #DIV/0!
0.2 |  |  | #DIV/0! | #DIV/0! | -0.69897 | #DIV/0!
0.5 |  |  | #DIV/0! | #DIV/0! | -0.30103 | #DIV/0!
1 |  |  | #DIV/0! | #DIV/0! | 0 | #DIV/0!
2 |  |  | #DIV/0! | #DIV/0! | 0.30103 | #DIV/0!
4 |  |  | #DIV/0! | #DIV/0! | 0.60206 | #DIV/0!
Step#2: The standard curve is automatically generated. Check that the R2 value is acceptable.
R2: | #DIV/0!
Slope: | #DIV/0!
Intercept: | #DIV/0!
Step#3: Enter OD values for unknown samples in the grey cells. Then, enter the dilution factor.(enter 1 if samples were not diluted).
Sample Description | OD1 | OD2 | Mean | %B/Bo | Logit %B/Bo | Aflatoxin B1 Concentration (ppb) | Dilution Factor | Aflatoxin B1 Concentration (ppb) X Dilution Factor
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!

## Aflatoxin B1 Low Matrix
Data Analysis Worksheet for Aflatoxin B1 Low Matrix ELISA Kit (Cat No. 981BAFL01LM-96) (KIT5005)
Date:
Operator:
Kit Lot#:
Temperature:
How to use the Data Analysis Worksheet for Aflatoxin B1 Low Matrix ELISA Kit (Cat No. 981BAFL01LM-96)) (KIT5005)
Step#1: Enter the OD values for the standards in the orange cells.
Step#2: The standard curve is automatically generated. Check that the R2 value is acceptable.
Step#3: Enter OD values for unknown samples in the grey cells. Then, enter the dilution factor.(enter 1 if samples were not diluted).
Step#1: Enter the OD values for the standards in the orange cells.
Standard Concentration (ng/mL) | OD1 | OD2 | Mean | %B/Bo | Log (Standard Concentration) | Logit %B/Bo
0 |  |  | #DIV/0! | #DIV/0!
0.02 |  |  | #DIV/0! | #DIV/0! | -1.699 | #DIV/0!
0.05 |  |  | #DIV/0! | #DIV/0! | -1.301 | #DIV/0!
0.1 |  |  | #DIV/0! | #DIV/0! | -1 | #DIV/0!
0.2 |  |  | #DIV/0! | #DIV/0! | -0.69897 | #DIV/0!
0.4 |  |  | #DIV/0! | #DIV/0! | -0.39794 | #DIV/0!
Step#2: The standard curve is automatically generated. Check that the R2 value is acceptable.
R2: | #DIV/0!
Slope: | #DIV/0!
Intercept: | #DIV/0!
Step#3: Enter OD values for unknown samples in the grey cells. Then, enter the dilution factor.(enter 1 if samples were not diluted).
Sample Description | OD1 | OD2 | Mean | %B/Bo | Logit %B/Bo | Aflatoxin B1 Concentration (ppb) | Dilution Factor | Aflatoxin B1 Concentration (ppb) X Dilution Factor
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!

## Aflatoxin M1
Data Analysis Worksheet for Aflatoxin M1 ELISA Kit (Cat No. 961AFLM01M-96) (KIT5000)
Date:
Operator:
Kit Lot#:
Temperature:
How to use the Data Analysis Worksheet for Aflatoxin M1 ELISA Kit (Cat no. 961AFLM01M-96) (KIT5000)
Step#1: Enter the OD values for the standards in the orange cells.
Step#2: The standard curve is automatically generated. Check that the R2 value is acceptable.
Step#3: Enter OD values for unknown samples in the grey cells. Then, enter the dilution factor.(enter 1 if samples were not diluted).
Step#1: Enter the OD values for the standards in the orange cells.
Standard Concentration (pg/mL) | OD1 | OD2 | Mean | %B/Bo | Log (Standard Concentration) | Logit %B/Bo
0 |  |  | #DIV/0! | #DIV/0!
5 |  |  | #DIV/0! | #DIV/0! | 0.69897 | #DIV/0!
10 |  |  | #DIV/0! | #DIV/0! | 1 | #DIV/0!
25 |  |  | #DIV/0! | #DIV/0! | 1.3979 | #DIV/0!
50 |  |  | #DIV/0! | #DIV/0! | 1.699 | #DIV/0!
100 |  |  | #DIV/0! | #DIV/0! | 2 | #DIV/0!
Step#2: The standard curve is automatically generated. Check that the R2 value is acceptable.
R2: | #DIV/0!
Slope: | #DIV/0!
Intercept: | #DIV/0!
Step#3: Enter OD values for unknown samples in the grey cells. Then, enter the dilution factor.(enter 1 if samples were not diluted).
Sample Description | OD1 | OD2 | Mean | %B/Bo | Logit %B/Bo | Aflatoxin M1 Concentration (ppt) | Dilution Factor | Aflatoxin M1 Concentration (ppt) X Dilution Factor
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!

## Aflatoxin M1 Ultra
Data Analysis Worksheet for Aflatoxin M1 Ultra ELISA Kit (Cat No. 961AFLM01C-ULTRA) (KIT5003)
Date:
Operator:
Kit Lot#:
Temperature:
How to use the Data Analysis Worksheet for Aflatoxin M1 Ultra ELISA Kit (Cat no. 961AFLM01MC-ULTRA) (KIT5003)
Step#1: Enter the OD values for the standards in the orange cells.
Step#2: The standard curve is automatically generated. Check that the R2 value is acceptable.
Step#3: Enter OD values for unknown samples in the grey cells. Then, enter the dilution factor.(enter 1 if samples were not diluted).
Step#1: Enter the OD values for the standards in the orange cells.
Standard Concentration (pg/mL) | OD1 | OD2 | Mean | %B/Bo | Log (Standard Concentration) | Logit %B/Bo
0 |  |  | #DIV/0! | #DIV/0!
5 |  |  | #DIV/0! | #DIV/0! | 0.69897 | #DIV/0!
15 |  |  | #DIV/0! | #DIV/0! | 1.1761 | #DIV/0!
50 |  |  | #DIV/0! | #DIV/0! | 1.699 | #DIV/0!
150 |  |  | #DIV/0! | #DIV/0! | 2.1761 | #DIV/0!
500 |  |  | #DIV/0! | #DIV/0! | 2.699 | #DIV/0!
Step#2: The standard curve is automatically generated. Check that the R2 value is acceptable.
R2: | #DIV/0!
Slope: | #DIV/0!
Intercept: | #DIV/0!
Step#3: Enter OD values for unknown samples in the grey cells. Then, enter the dilution factor.(enter 1 if samples were not diluted).
Sample Description | OD1 | OD2 | Mean | %B/Bo | Logit %B/Bo | Aflatoxin M1 Concentration (ppt) | Dilution Factor | Aflatoxin M1 Concentration (ppt) X Dilution Factor
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!

## Aflatoxin M1 Urine
Data Analysis Worksheet for Aflatoxin M1 ELISA Kit for Urine (Cat No. 991AFLM01U-96) (KIT5002)
Date:
Operator:
Kit Lot#:
Temperature:
How to use the Data Analysis Worksheet for Aflatoxin M1 ELISA Kit for Urine(Cat no. 991AFLM01U-96) (KIT5002)
Step#1: Enter the OD values for the standards in the orange cells.
Step#2: The standard curve is automatically generated. Check that the R2 value is acceptable.
Step#3: Enter OD values for unknown samples in the grey cells. Then, enter the dilution factor.(enter 1 if samples were not diluted).
Step#1: Enter the OD values for the standards in the orange cells.
Standard Concentration (ng/mL) | OD1 | OD2 | Mean | %B/Bo | Log (Standard Concentration) | Logit %B/Bo
0 |  |  | #DIV/0! | #DIV/0!
0.15 |  |  | #DIV/0! | #DIV/0! | -0.82391 | #DIV/0!
0.4 |  |  | #DIV/0! | #DIV/0! | -0.39794 | #DIV/0!
0.8 |  |  | #DIV/0! | #DIV/0! | -0.09691 | #DIV/0!
1.5 |  |  | #DIV/0! | #DIV/0! | 0.17609 | #DIV/0!
4 |  |  | #DIV/0! | #DIV/0! | 0.60206 | #DIV/0!
Step#2: The standard curve is automatically generated. Check that the R2 value is acceptable.
R2: | #DIV/0!
Slope: | #DIV/0!
Intercept: | #DIV/0!
Step#3: Enter OD values for unknown samples in the grey cells. Then, enter the dilution factor.(enter 1 if samples were not diluted).
Sample Description | OD1 | OD2 | Mean | %B/Bo | Logit %B/Bo | Aflatoxin M1 Concentration (ppb) | Dilution Factor | Aflatoxin M1 Concentration (ppb) X Dilution Factor
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!

## Total Aflatoxin
Data Analysis Worksheet for Total Aflatoxin ELISA Kit (Cat No. 941AFL01M-96) (KIT5007)
Date:
Operator:
Kit Lot#:
Temperature:
How to use the Data Analysis Worksheet for Total Aflatoxin ELISA Kit (Cat No. 941AFL01M-96) (KIT5007)
Step#1: Enter the OD values for the standards in the orange cells.
Step#2: The standard curve is automatically generated. Check that the R2 value is acceptable.
Step#3: Enter OD values for unknown samples in the grey cells. Then, enter the dilution factor.(enter 1 if samples were not diluted).
Step#1: Enter the OD values for the standards in the orange cells.
Standard Concentration (ng/mL) | OD1 | OD2 | Mean | %B/Bo | Log (Standard Concentration) | Logit %B/Bo
0 |  |  | #DIV/0! | #DIV/0!
0.2 |  |  | #DIV/0! | #DIV/0! | -0.69897 | #DIV/0!
0.5 |  |  | #DIV/0! | #DIV/0! | -0.30103 | #DIV/0!
1 |  |  | #DIV/0! | #DIV/0! | 0 | #DIV/0!
2 |  |  | #DIV/0! | #DIV/0! | 0.30103 | #DIV/0!
4 |  |  | #DIV/0! | #DIV/0! | 0.60206 | #DIV/0!
Step#2: The standard curve is automatically generated. Check that the R2 value is acceptable.
R2: | #DIV/0!
Slope: | #DIV/0!
Intercept: | #DIV/0!
Step#3: Enter OD values for unknown samples in the grey cells. Then, enter the dilution factor.(enter 1 if samples were not diluted).
Sample Description | OD1 | OD2 | Mean | %B/Bo | Logit %B/Bo | Total Aflatoxin Concentration (ppb) | Dilution Factor | Total Aflatoxin Concentration (ppb) X Dilution Factor
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!

## Total Aflatoxin Low Matrix
Data Analysis Worksheet for Total Aflatoxin Low Matrix ELISA Kit (Cat No. 981AFL01LM-96) (KIT5006)
Date:
Operator:
Kit Lot#:
Temperature:
How to use the Data Analysis Worksheet for Total Aflatoxin Low Matrix ELISA Kit (Cat No. 981AFL01LM-96) (KIT5006)
Step#1: Enter the OD values for the standards in the orange cells.
Step#2: The standard curve is automatically generated. Check that the R2 value is acceptable.
Step#3: Enter OD values for unknown samples in the grey cells. Then, enter the dilution factor.(enter 1 if samples were not diluted).
Step#1: Enter the OD values for the standards in the orange cells.
Standard Concentration (ng/mL) | OD1 | OD2 | Mean | %B/Bo | Log (Standard Concentration) | Logit %B/Bo
0 |  |  | #DIV/0! | #DIV/0!
0.02 |  |  | #DIV/0! | #DIV/0! | -1.699 | #DIV/0!
0.05 |  |  | #DIV/0! | #DIV/0! | -1.301 | #DIV/0!
0.1 |  |  | #DIV/0! | #DIV/0! | -1 | #DIV/0!
0.2 |  |  | #DIV/0! | #DIV/0! | -0.69897 | #DIV/0!
0.4 |  |  | #DIV/0! | #DIV/0! | -0.39794 | #DIV/0!
Step#2: The standard curve is automatically generated. Check that the R2 value is acceptable.
R2: | #DIV/0!
Slope: | #DIV/0!
Intercept: | #DIV/0!
Step#3: Enter OD values for unknown samples in the grey cells. Then, enter the dilution factor(enter 1 if samples were not diluted).
Sample Description | OD1 | OD2 | Mean | %B/Bo | Logit %B/Bo | Total Aflatoxin Concentration (ppb) | Dilution Factor | Total Aflatoxin Concentration (ppb) X Dilution Factor
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!

## Deoxynivalenol
Data Analysis Worksheet for Deoxynivalenol ELISA Kit (Cat No. 941DON01M-96) (KIT5010)
Date:
Operator:
Kit Lot#:
Temperature:
How to use the Data Analysis Worksheet for Deoxynivalenol ELISA Kit (Cat No. 941DON01M-96) (KIT5010)
Step#1: Enter the OD values for the standards in the orange cells.
Step#2: The standard curve is automatically generated. Check that the R2 value is acceptable.
Step#3: Enter OD values for unknown samples in the grey cells. Then, enter the dilution factor.(enter 1 if samples were not diluted).
Step#1: Enter the OD values for the standards in the orange cells.
Standard Concentration (ng/mL) | OD1 | OD2 | Mean | %B/Bo | Log (Standard Concentration) | Logit %B/Bo
0 |  |  | #DIV/0! | #DIV/0!
10 |  |  | #DIV/0! | #DIV/0! | 1 | #DIV/0!
20 |  |  | #DIV/0! | #DIV/0! | 1.301 | #DIV/0!
50 |  |  | #DIV/0! | #DIV/0! | 1.699 | #DIV/0!
100 |  |  | #DIV/0! | #DIV/0! | 2 | #DIV/0!
200 |  |  | #DIV/0! | #DIV/0! | 2.301 | #DIV/0!
Step#2: The standard curve is automatically generated. Check that the R2 value is acceptable.
R2: | #DIV/0!
Slope: | #DIV/0!
Intercept: | #DIV/0!
Step#3: Enter OD values for unknown samples in the grey cells. Then, enter the dilution factor.(enter 1 if samples were not diluted).
Sample Description | OD1 | OD2 | Mean | %B/Bo | Logit %B/Bo | Deoxynivalenol Concentration (ppb) | Dilution Factor | Deoxynivalenol Concentration (ppb) X Dilution Factor
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!

## Deoxynivalenol RAPID
Data Analysis Worksheet for Deoxynivalenol RAPID ELISA Kit (Cat No. 201DON01WC-96) (KIT5011)
Date:
Operator:
Kit Lot#:
Temperature:
How to use the Data Analysis Worksheet for Deoxynivalenol RAPID ELISA Kit (Cat No. 201DON01WC-96) (KIT5011)
Step#1: Enter the OD values for the standards in the orange cells.
Step#2: The standard curve is automatically generated. Check that the R2 value is acceptable.
Step#3: Enter OD values for unknown samples in the grey cells. Then, enter the dilution factor.(enter 1 if samples were not diluted).
Step#1: Enter the OD values for the standards in the orange cells.
Standard Concentration (ng/mL) | OD1 | OD2 | Mean | %B/Bo | Log (Standard Concentration) | Logit %B/Bo
0 |  |  | #DIV/0! | #DIV/0!
10 |  |  | #DIV/0! | #DIV/0! | 1 | #DIV/0!
25 |  |  | #DIV/0! | #DIV/0! | 1.3979 | #DIV/0!
50 |  |  | #DIV/0! | #DIV/0! | 1.699 | #DIV/0!
100 |  |  | #DIV/0! | #DIV/0! | 2 | #DIV/0!
200 |  |  | #DIV/0! | #DIV/0! | 2.301 | #DIV/0!
Step#2: The standard curve is automatically generated. Check that the R2 value is acceptable.
R2: | #DIV/0!
Slope: | #DIV/0!
Intercept: | #DIV/0!
Step#3: Enter OD values for unknown samples in the grey cells. Then, enter the dilution factor.(enter 1 if samples were not diluted).
Sample Description | OD1 | OD2 | Mean | %B/Bo | Logit %B/Bo | Deoxynivalenol Concentration (ppb) | Dilution Factor | Deoxynivalenol Concentration (ppb) X Dilution Factor
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!

## Fumonisin Hydro
Data Analysis Worksheet for Fumonisin Hydro ELISA Kit (Cat No.201FUM01AQ-96) (KIT5014)
Date:
Operator:
Kit Lot#:
Temperature:
How to use the Data Analysis Worksheet for Fumonisin Hydro ELISA Kit (Cat No.201FUM01AQ-96) (KIT5014)
Step#1: Enter the OD values for the standards in the orange cells.
Step#2: The standard curve is automatically generated. Check that the R2 value is acceptable.
Step#3: Enter OD values for unknown samples in the grey cells. Then, enter the dilution factor.(enter 1 if samples were not diluted).
Step#1: Enter the OD values for the standards in the orange cells.
Standard Concentration (ng/mL) | OD1 | OD2 | Mean | %B/Bo | Log (Standard Concentration) | Logit %B/Bo
0 |  |  | #DIV/0! | #DIV/0!
2.5 |  |  | #DIV/0! | #DIV/0! | 0.39794 | #DIV/0!
7.5 |  |  | #DIV/0! | #DIV/0! | 0.87506 | #DIV/0!
20 |  |  | #DIV/0! | #DIV/0! | 1.301 | #DIV/0!
50 |  |  | #DIV/0! | #DIV/0! | 1.699 | #DIV/0!
150 |  |  | #DIV/0! | #DIV/0! | 2.1761 | #DIV/0!
Step#2: The standard curve is automatically generated. Check that the R2 value is acceptable.
R2: | #DIV/0!
Slope: | #DIV/0!
Intercept: | #DIV/0!
Step#3: Enter OD values for unknown samples in the grey cells. Then, enter the dilution factor.(enter 1 if samples were not diluted).
Sample Description | OD1 | OD2 | Mean | %B/Bo | Logit %B/Bo | Fumonisin Concentration (ppb) | Dilution Factor | Fumonisin Concentration (ppb) X Dilution Factor
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!

## Fumonisin in Urine
Data Analysis Worksheet for Fumonisin in Urine ELISA Kit (Cat No. 951FUM01U-96) (KIT5013)
Date:
Operator:
Kit Lot#:
Temperature:
How to use the Data Analysis Worksheet for Fumonisin in Urine ELISA Kit (Cat No. 951FUM01U-96) (KIT5013)
Step#1: Enter the OD values for the standards in the orange cells.
Step#2: The standard curve is automatically generated. Check that the R2 value is acceptable.
Step#3: Enter OD values for unknown samples in the grey cells. Then, enter the dilution factor.(enter 1 if samples were not diluted).
Step#1: Enter the OD values for the standards in the orange cells.
Standard Concentration (ng/mL) | OD1 | OD2 | Mean | %B/Bo | Log (Standard Concentration) | Logit %B/Bo
0 |  |  | #DIV/0! | #DIV/0!
0.2 |  |  | #DIV/0! | #DIV/0! | -0.69897 | #DIV/0!
0.6 |  |  | #DIV/0! | #DIV/0! | -0.22185 | #DIV/0!
1.5 |  |  | #DIV/0! | #DIV/0! | 0.17609 | #DIV/0!
4 |  |  | #DIV/0! | #DIV/0! | 0.60206 | #DIV/0!
8 |  |  | #DIV/0! | #DIV/0! | 0.90309 | #DIV/0!
Step#2: The standard curve is automatically generated. Check that the R2 value is acceptable.
R2: | #DIV/0!
Slope: | #DIV/0!
Intercept: | #DIV/0!
Step#3: Enter OD values for unknown samples in the grey cells. Then, enter the dilution factor(enter 1 if samples were not diluted).
Sample Description | OD1 | OD2 | Mean | %B/Bo | Logit %B/Bo | Fumonisin Concentration (ppb) | Dilution Factor | Fumonisin Concentration (ppb) X Dilution Factor
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!

## Ochratoxin A Universal
Data Analysis Worksheet for Ochratoxin A Universal ELISA Kit (Cat No. 961OCH01LM-96) (KIT5015)
Date:
Operator:
Kit Lot#:
Temperature:
How to use the Data Analysis Worksheet for Ochratoxin A Universal ELISA Kit (Cat No. 961OCH01LM-96) (KIT5015)
Step#1: Enter the OD values for the standards in the orange cells.
Step#2: The standard curve is automatically generated. Check that the R2 value is acceptable.
Step#3: Enter OD values for unknown samples in the grey cells. Then, enter the dilution factor.(enter 1 if samples were not diluted).
Step#1: Enter the OD values for the standards in the orange cells.
Standard Concentration (ng/mL) | OD1 | OD2 | Mean | %B/Bo | Log (Standard Concentration) | Logit %B/Bo
0 |  |  | #DIV/0! | #DIV/0!
0.05 |  |  | #DIV/0! | #DIV/0! | -1.301 | #DIV/0!
0.1 |  |  | #DIV/0! | #DIV/0! | -1 | #DIV/0!
0.2 |  |  | #DIV/0! | #DIV/0! | -0.69897 | #DIV/0!
0.4 |  |  | #DIV/0! | #DIV/0! | -0.39794 | #DIV/0!
0.8 |  |  | #DIV/0! | #DIV/0! | -0.09691 | #DIV/0!
Step#2: The standard curve is automatically generated. Check that the R2 value is acceptable.
R2: | #DIV/0!
Slope: | #DIV/0!
Intercept: | #DIV/0!
Step#3: Enter OD values for unknown samples in the grey cells. Then, enter the dilution factor(enter 1 if samples were not diluted).
Sample Description | OD1 | OD2 | Mean | %B/Bo | Logit %B/Bo | Ochratoxin A Concentration (ppb) | Dilution Factor | Ochratoxin A Concentration (ppb) X Dilution Factor
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!

## Zearalenone Low Matrix
Data Analysis Worksheet for Zearalenone Low Matrix ELISA Kit (Cat No. 981ZEA01LM-96) (KIT5018)
Date:
Operator:
Kit Lot#:
Temperature:
How to use the Data Analysis Worksheet for Zearalenone Low Matrix ELISA Kit (Cat No. 981ZEA01LM-96) (KIT5018)
Step#1: Enter the OD values for the standards in the orange cells.
Step#2: The standard curve is automatically generated. Check that the R2 value is acceptable.
Step#3: Enter OD values for unknown samples in the grey cells. Then, enter the dilution factor.(enter 1 if samples were not diluted).
Step#1: Enter the OD values for the standards in the orange cells.
Standard Concentration (ng/mL) | OD1 | OD2 | Mean | %B/Bo | Log (Standard Concentration) | Logit %B/Bo
0 |  |  | #DIV/0! | #DIV/0!
0.1 |  |  | #DIV/0! | #DIV/0! | -1 | #DIV/0!
0.3 |  |  | #DIV/0! | #DIV/0! | -0.52288 | #DIV/0!
0.6 |  |  | #DIV/0! | #DIV/0! | -0.22185 | #DIV/0!
1.2 |  |  | #DIV/0! | #DIV/0! | 0.079181 | #DIV/0!
4 |  |  | #DIV/0! | #DIV/0! | 0.60206 | #DIV/0!
Step#2: The standard curve is automatically generated. Check that the R2 value is acceptable.
R2: | #DIV/0!
Slope: | #DIV/0!
Intercept: | #DIV/0!
Step#3: Enter OD values for unknown samples in the grey cells. Then, enter the dilution factor.(enter 1 if samples were not diluted).
Sample Description | OD1 | OD2 | Mean | %B/Bo | Logit %B/Bo | Zearalenone Concentration (ppb) | Dilution Factor | Zearalaneone Concentration (ppb) X Dilution Factor
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!

## Mycotox Total Aflatoxin
Data Analysis Worksheet for Mycotox Total Aflatoxin ELISA Kit (Cat No. 941AFL01G-96) (KIT5008)
Date:
Operator:
Kit Lot#:
Temperature:
How to use the Data Analysis Worksheet for Mycotox Total Aflatoxin ELISA Kit (Cat No. 941AFL01G-96) (KIT5008)
Step#1: Enter the OD values for the standards in the orange cells.
Step#2: The standard curve is automatically generated. Check that the R2 value is acceptable.
Step#3: Enter OD values for unknown samples in the grey cells. Then, enter the dilution factor(enter 1 if samples were not diluted).
Step#1: Enter the OD values for the standards in the orange cells.
Standard Concentration (ng/mL) | OD1 | OD2 | Mean | %B/Bo | Log (Standard Concentration) | Logit %B/Bo
0 |  |  | #DIV/0! | #DIV/0!
0.2 |  |  | #DIV/0! | #DIV/0! | -0.69897 | #DIV/0!
0.6 |  |  | #DIV/0! | #DIV/0! | -0.22185 | #DIV/0!
1.8 |  |  | #DIV/0! | #DIV/0! | 0.25527 | #DIV/0!
5 |  |  | #DIV/0! | #DIV/0! | 0.69897 | #DIV/0!
15 |  |  | #DIV/0! | #DIV/0! | 1.1761 | #DIV/0!
Step#2: The standard curve is automatically generated. Check that the R2 value is acceptable.
R2: | #DIV/0!
Slope: | #DIV/0!
Intercept: | #DIV/0!
Step#3: Enter OD values for unknown samples in the grey cells. Then, enter the dilution factor.(enter 1 if samples were not diluted).
Sample Description | OD1 | OD2 | Mean | %B/Bo | Logit %B/Bo | Total Aflatoxin Concentration (ppb) | Dilution Factor | Total Aflatoxin Concentration (ppb) X Dilution Factor
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!

## Helica Total Aflatoxin Hydro
Data Analysis Worksheet for Mycotox Total Aflatoxin Hydro ELISA Kit (Cat No. 941AFL01AQ-96) (KIT5009)
Date:
Operator:
Kit Lot#:
Temperature:
How to use the Data Analysis Worksheet for Mycotox Total Aflatoxin Hydro ELISA Kit (Cat No. 941AFL01AQ-96) (KIT5009)
Step#1: Enter the OD values for the standards in the orange cells.
Step#2: The standard curve is automatically generated. Check that the R2 value is acceptable.
Step#3: Enter OD values for unknown samples in the grey cells. Then, enter the dilution factor.(enter 1 if samples were not diluted).
Step#1: Enter the OD values for the standards in the orange cells.
Standard Concentration (ng/mL) | OD1 | OD2 | Mean | %B/Bo | Log (Standard Concentration) | Logit %B/Bo
0 |  |  | #DIV/0! | #DIV/0!
0.1 |  |  | #DIV/0! | #DIV/0! | -1 | #DIV/0!
0.25 |  |  | #DIV/0! | #DIV/0! | -0.60206 | #DIV/0!
0.8 |  |  | #DIV/0! | #DIV/0! | -0.09691 | #DIV/0!
2.5 |  |  | #DIV/0! | #DIV/0! | 0.39794 | #DIV/0!
8 |  |  | #DIV/0! | #DIV/0! | 0.90309 | #DIV/0!
Step#2: The standard curve is automatically generated. Check that the R2 value is acceptable.
R2: | #DIV/0!
Slope: | #DIV/0!
Intercept: | #DIV/0!
Step#3: Enter OD values for unknown samples in the grey cells. Then, enter the dilution factor.(enter 1 if samples were not diluted).
Sample Description | OD1 | OD2 | Mean | %B/Bo | Logit %B/Bo | Total Aflatoxin Concentration (ppb) | Dilution Factor | Total Aflatoxin Concentration (ppb) X Dilution Factor
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!

## T-2 toxin
Data Analysis Worksheet for T-2 toxin ELISA Kit (Cat No. 951T201GF-96) (KIT5017)
Date:
Operator:
Kit Lot#:
Temperature:
How to use the Data Analysis Worksheet for T-2 toxin ELISA Kit (Cat No. 951T201GF-96) (KIT5017)
Step#1: Enter the OD values for the standards in the orange cells.
Step#2: The standard curve is automatically generated. Check that the R2 value is acceptable.
Step#3: Enter OD values for unknown samples in the grey cells. Then, enter the dilution factor.(enter 1 if samples were not diluted).
Step#1: Enter the OD values for the standards in the orange cells.
Standard Concentration (ng/mL) | OD1 | OD2 | Mean | %B/Bo | Log (Standard Concentration) | Logit %B/Bo
0 |  |  | #DIV/0! | #DIV/0!
0.25 |  |  | #DIV/0! | #DIV/0! | -0.60206 | #DIV/0!
1 |  |  | #DIV/0! | #DIV/0! | 0 | #DIV/0!
2 |  |  | #DIV/0! | #DIV/0! | 0.30103 | #DIV/0!
6 |  |  | #DIV/0! | #DIV/0! | 0.77815 | #DIV/0!
12 |  |  | #DIV/0! | #DIV/0! | 1.0792 | #DIV/0!
Step#2: The standard curve is automatically generated. Check that the R2 value is acceptable.
R2: | #DIV/0!
Slope: | #DIV/0!
Intercept: | #DIV/0!
Step#3: Enter OD values for unknown samples in the grey cells. Then, enter the dilution factor.(enter 1 if samples were not diluted).
Sample Description | OD1 | OD2 | Mean | %B/Bo | Logit %B/Bo | T-2 toxin Concentration (ppb) | Dilution Factor | T-2 toxin Concentration (ppb) X Dilution Factor
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!